## NVDOC
Instructions for Collecting Samples
Lab Code | Description | Bottle
1001NVDOC | non-volatile dissolved organic carbon | 20-mL amber EPA VOA vials with open-top septa-lined caps (septa are made of Teflon-lined silicone). Bottles with septa provided by RBPGL at a cost of $3 each to sample submitter; or order from Spec Sci p/n 276820. For smaller sample volumes contact RBPGL.
Treatment, Preservation, and Sample Amount
1. Label vial with site id, date, time and notation "filtered".
2. Filter sample through 0.20 mm Supor (Sigma-Aldrich p/n 269204), or 0.22 mm Sterivex (Sigma-Aldrich p/n SVGP01050) filter, discard.
3. Rinse vial with several mLs of filtered sample, discard.
4. Collect filtered water in 20 mL amber glass vial, leaving enough headspace to add preservative.
5. Preserve sample by adding 50-100 ml (1-2 drops) of 37% reagent grade HCl, optimum pH is between 1.5-2.5.
6. Place in foam sleeve, zip lock bag and store on ice or field refrigerator.
Sample Collection (syringe filter)
1. Draw several mLs into a *60-mL clean syringe and empty 2 to 3 times to rinse the syringe.
2. SLOWLY pull sample for collection into the syringe.
3. Remove large bubbles/headspace from syringe by tilting syringe upwards and expelling excess air.
4. Attach 0.20 mm Supor 25 mm syringe filter (Sigma-Aldrich p/n 269204) or 0.22 mm Sterivex (Sigma-Aldrich p/n SVGP01050). Flush filter with ~ 4 mLs of sample water (to rinse filter), discard.
5. Pre-rinse vial with 5-10 mLs of filtered sample, discard.
6. Gently push sample water into the amber vials, leaving ~ 1 mL of headspace.
7. Add 50-100 ml (1-2 drops) of 37% reagent grade HCl, check pH, optimum range 1.5-2.5. Add additional drops if needed.
8. Screw the cap onto the vial firmly, but DO NOT OVERTIGHTEN CAP. If the septa appears to be creased or if it is off-center, the vial may leak.
9. Gently mix by inverting.
10. Place vials into foam sleeve, zip lock bag, keep the vials chilled.
11. DO NOT FREEZE VIALS. Freezing will cause the water to expand and crack the vials.
12. Collect in duplicate.
* can use smaller size syringe if volume is a problem
Sample Collection (in-line filter w/peristaltic pump)
1. With a flow rate of ~ 0.4 liter/minute, pump with a peristaltic pump sufficient sample to rinse pump tubing.
2. Filter thru 0.20 mm Supor 45 mm filter, (Sigma-Aldich p/n 269255) using an in-line filter holder ~ 5-7 mLs (to rinse filter), discard.
3. Pre-rinse vial with ~ 5-10 mLs of filtered sample, discard.
4. Gently fill sample water into the amber vial, leaving ~ 1 mL of headspace.
5. Add 50-100 ml (1-2 drops) of 37% reagent grade HCl, check pH, optimum range 1.5-2.5. Add additional drops if needed.
6. Screw the cap onto the vial firmly, but DO NOT OVERTIGHTEN CAP. If the septa appears to be creased or if it is off-center, the vial may leak.
7. Gently mix by inverting.
8. Place vials into foam sleeve, zip lock bag, keep the vials chilled.
9. DO NOT FREEZE VIALS. Freezing will cause the water to expand and crack the vials.
10. Collect in duplicate.