## LMWOA
Instructions for Collecting Samples
Lab Code | Description |  | Bottle
1002LMWOA | low molecular weight organic acids |  | 20-mL clear EPA VOA vials with open-top septa-lined caps (septa are made of Teflon-lined silicone). Bottles with septa provided by RBPGL at a cost of $3 each to sample submitter; or order from Spec Sci p/n 276720. For smaller sample volumes contact RBPGL.
Treatment, Preservation, and Sample Amount
1. Label vial with site id, date, time and notation "unfiltered".
2. Rinse vial with several mLs of sample, discard.
3. Collect sample in 20 mL clear glass vial, two thirds full, leaving enough headspace to prevent cracking.
4. Place in foam sleeve, zip lock bag and store on dry ice at an angle or in a field freezer.
5. Freezing the sample inhibits biological reactions.
Sample Collection (syringe)
1. Draw several mLs into a *60-mL clean syringe and empty 2 to 3 times to rinse the syringe.
2. SLOWLY pull sample for collection into the syringe.
3. Remove large bubbles/headspace from syringe by tilting syringe upwards and expelling excess air.
4. Pre-rinse vial with 5-10 mLs of sample, discard.
5. Gently push sample water into the clear vial, leaving ~ 30% of headspace.
6. Screw the cap onto the vial firmly, but DO NOT OVERTIGHTEN CAP. If the septa appears to be creased or if it is off-center, the vial may leak.
7. Place vials into foam sleeve, zip lock bag, keep the vials frozen.
8. Collect in duplicate.
* can use smaller size syringe if volume is a problem
Sample Collection (peristaltic pump)
1. With a flow rate of ~ 0.4 liter/minute, pump with a peristaltic pump sufficient sample to rinse pump tubing.
2. Pre-rinse vial with ~ 5-10 mLs of sample, discard.
3. SLOWLY fill sample water into the clear vial, leaving ~ 30% headspace.
4. Screw the cap onto the vial firmly, but DO NOT OVERTIGHTEN CAP. If the septa appears to be creased or if it is off-center, the vial may leak.
5. Place vials into foam sleeve, zip lock bag, keep the vials frozen.
6. No preservative is required.
7. Collect in duplicate.