Basic Electronics and Troubleshooting

Instrumentation

Course Code:USGS-HIF-ID1081

Hydrologic Instrumentation Facility (HIF)

Stennis Space Center, MS

1-800-382-0634

Agenda

MONDAY

08:00		Introductions and Welcome to HIF

HIF Repairs and Service

Tour of HIF Facilities –

Overview of Telemetry Systems

Basic Electronic Principles

- Voltage

- Current

- Resistance

- Ohm’s Law

- Power

- Parallel and Series Circuits

- Equivalent Circuits

Meters and Measurements

      - Meter Types

      - Voltage Measurements

      - Current Measurements

      - Resistance Measurements

      - Cabling for Measurements

11:30		LUNCH

12:30		Wire and Connections

- Wire Types

- Resistance and Current Capacities

- Connectors and Splices

  - Selecting Terminals and Splices

  - Connectors for 12-Volt power

- Stripping and Crimping

- Useful Tools

- Classroom Projects

  - Battery Connector Cable

- Checking Connections

Soldering and Desoldering

- What is solder?

- Why solder?

- Soldering Irons, Tips, etc.

- Basic Soldering Techniques

- Tinning Wire Ends

- Splicing Wires

- Soldering Crimp Terminals

- Checking Solder Joints

- Desoldering Techniques

- In-Class Soldering Project(s)

  - Multimeter-to-Method Cable

  - Pin Jack-to-Alligator Clip Cable

17:00		DISMISSAL: dependent upon completion of tasks

TUESDAY

08:00		Basic Power Systems

- Batteries

  - General Battery Information

  - Battery Charging Information

  - Testing a Battery

    - Intro and use of HIF Load Tester

    - Commercial load testers

- Solar Panels and Charge Regulators

- Gagehouse Wiring Suggestions

11:30		LUNCH

12:30		Troubleshooting Common Problems

- Open Circuits

- Short Circuits

- Checking Current Drains

- Manufacturer’s Specs

- Checking Continuity

- Common Troubleshooting Techniques

- Troubleshooting “Rules”

Grounding Principles and Circuit Protection

- What is GROUND?

- Earth Grounds

- Power Grounds

- Analog Grounds

- Earth Grounding Systems

  - HIF Grounding Kits

  - HIF Cadweld Kits

- Equipment Protection Devices and Methods

- Lightning Information

Outdoor Demonstrations

- Demonstration of Cadweld system

- Use of Ground Resistance Meters

Class Photo

15:00		Building and Testing an RF Antenna Cable

17:00		DISMISSAL: dependent upon completion of tasks

WEDNESDAY

08:00		Instrumentation 101

SDI-12 Interface Standard

SDI-12 and Sensors

10:00		Raingage Calibrations

- SDI Raingage

- Introduction to Other Raingage models

11:30		LUNCH

12:30		Troubleshooting a DCP System (continued)

- Data Collection Platform w/Sensors

Troubleshooting SDI-12 Problems

- Using the H-4191

Quick Overview of DCP/RF Troubleshooting

- Summary of GOES Satellite System

- Intro New Telemetry Options

- General RF Troubleshooting

- Using RF Wattmeters to isolate problems

17:00		DISMISSAL: dependent upon completion of tasks

THURSDAY

08:00		HIF Instrument News

System Assembly, Maintenance and Troubleshooting

- Hands-on applications in maintenance and troubleshooting of data collection platform systems

11:30		LUNCH

12:30	System Assembly, Maintenance and Troubleshooting (Continued)

15:00	Class Critiques

Open Discussion and Specific Questions

Box materials for shipping home

17:00	DISMISSAL: dependent upon completion of tasks

Course Coordinator:  Richard Pardee: 228-688-2111;  rwpardee@usgs.gov