# Organic Geochemistry Research Laboratory (OGRL)

Kansas Water Science Center, Lawrence, KS

FY 2026 Services

# Environmental Organic Chemistry (EOC) Unit

For additional information contact: Julie Dietze 785-832-3564, juliec@usgs.gov or

# GS-W-KS_OGRL_EOC@usgs.gov

# All internal Quality Control data must be requested during the establishment of the laboratory work agreement or additional fees may apply.

# Requested spikes are assessed at the same price per sample as environmental samples.

- Samples submitted and then later requested not to be analyzed must be submitted in email within 3 days of sample submission or the sample will be assessed analysis costs.

- Re-analysis requests must be provided within 30 days of data delivery.

- Original sample bottles will be disposed 12 months after delivery of data unless otherwise agreed upon in the established laboratory work agreement.

- The OGRL must be notified by the end of Quarter 3 of the current fiscal year of any changes to the estimated sample totals in the established laboratory work agreement or additional fees may apply.

Routine Methods

Analysis Code:  LCGY

Glyphosate, AMPA, and Glufosinate Method

Sample Prep: Derivatization (FMOC)

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 0.02 µg/L

OGRL Method Code: LCM57

Bottle Requirements: 1-20mL VOA amber borosilicate glass vial (filled ½ full) or 1-4oz (125mL) amber glass with Teflon lined caps (filled ½ full).

Compound Name/ CAS#: Parameter Code

| ### Glyphosate/ 1071-83-6: 62722 | *Aminomethylphosphonic Acid (AMPA)/ 1066-51-9: 62649 | Glufosinate/ 51276-47-2: 62721 |
| --- | --- | --- |

Analysis Code:  LCAZ

Atrazine Method

Instrumentation: Direct inject liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 0.05 µg/L

OGRL Method Code: LM127

Bottle Requirements: 1- 4oz (125mL) amber glass with Teflon lined caps (filled ½ full)

Compound/CAS#: Parameter Code

Atrazine/ 1912249: 39632

Methods for Tire Wear Particle Chemicals

Analysis Code:  LCTR

Direct Inject Water Method

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 2.0 µg/L

OGRL Method Code: LM129

Bottle Requirements: Contact Rachael Lane (785-760-4540; rflane@usgs.gov) for details about bottles or additional tire wear compounds of interest

Compound/CAS#: Parameter Code

6PPD-quinone / 2754428-18-5, 39944 6PPD/ 793-24-8, 39945

Other tire-related compounds available by request

Analysis Code:  LCTR-EPA

EPA Draft Method 1634

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water (predominantly stormwater and surface water)

Reporting Limit: 0.200 ng/L

OGRL Method Code: LM128

Bottle Requirements: Contact Rachael Lane (785-760-4540; rflane@usgs.gov) for details about bottles or additional tire wear compounds of interest

Compound/CAS#: Parameter Code

6PPD-quinone / 2754428-18-5, 39943

Analysis Code:  LCAB

Four Class Antibiotic Method

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 0.005 µg/L (except where noted)

Method Notes:

The concentrations for the family of isomers for chlortetracycline, oxytetracycline, and tetracycline are processed with the following differences and assumptions:

- Only one isomer per family is physically added in the standard mix and standard addition solutions (isochlotetracycline, oxytetracycline, tetracycline)

- Equal instrument response for each isomer in a family is assumed

- Concentration is calculated on the sum of all isomers in a family and proportioned by area of individual isomer

Bottle Requirements: 1-4oz (125mL) amber glass with Teflon lined caps

Compound Name/ CAS#: Parameter Code, Method Code

| Fluoroquinolines Ciprofloxacin/85721-33-1: 62898, LCM48 Enrofloxacin/ 93106-60-6: 66495 LCM48 Lomefloxacin/ 98079-51-7: 62900, LCM48 Norfloxacin/ 70458-96-7: 62757, LCM48 Ofloxacin/ 82419-36-1: 62899, LCM48 Sarafloxacin/ 98105-99-8: 62771, LCM48 | Macrolides Azithromycin/ 83905-01-5: 62792, LCM94 Erythromycin (0.01 µg/L)/ 114-07-8: 62797, LCM95 *Erythromycin-H2O (0.02 µg/L)/ 23893-13-2: 63674, LCM95 Roxithromycin/ 80214-83-1: 62895, LCM48 Tylosin (0.01 µg/L)/ 1401-69-0: 62896, LCM95 Virginiamycin/ 11006-76-1: 62897, LCM48 |
| --- | --- |
| Sulfonamides Sulfachloropyridazine/ 80-32-0: 62774, LCM48 Sulfadiazine (0.05 µg/L)/ 68-35-9: 62963, LCM95 Sulfadimethoxine/ 122-11-2: 62776, LCM48 Sulfamethoxazole/ 723-46-6: 62775, LCM48 Sulfamethazine/ 57-68-1: 61762, LCM48 Sulfathiazole (0.05 µg/L)/ 72-14-0: 62778, LCM95 | Tetracyclines Chlortetracycline (0.01 µg/L)/ 57-62-5: 61744: LCM95 *Epi-chlortetracycline (0.01 µg/L)/ 101342-45-4: 63731, LCM95 *Epi-iso-chlortetracycline (0.01 µg/L)/ N/A: 64047, LCM95 *Iso-chlortetracycline/ 514-53-4: 64175, LCM94 Oxytetracycline/ 79-57-2: 61759, LCM94 *Epi-oxytetracycline (0.01 µg/L)/ 35259-39-3: 63729, LCM95 Tetracycline/ 60-54-8: 62781, LCM94 *Epi-tetracycline (0.01 µg/L)/ 79-85-6: 63727, LCM95 Doxycycline (0.01 µg/L)/ 564-25-0: 62694, LCM95 |
| Pharmaceuticals Carbamazepine/ 298-46-4: 62793, LCM48 Ibuprofen (0.05 µg/L)/ 15687-27-1: 62014, LCM95 | Others Chloramphenicol (0.01 µg/L)/ 56-75-7: 65194, LCM95 Lincomycin/ 154-21-2: 62894, LCM48 Ormetoprim/ 6981-18-6: 62962, LCM48 Trimethoprim/ 738-70-5: 62023, LCM48 |

*Degradation product

Analysis Code:  LCSU

Artificial Sweeteners Method

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

OGRL Method Code: LM100

Bottle Requirements: 4-4oz (125mL) amber glass with Teflon lined caps

Compound/CAS#/Parameter Code

| Acesulfame-K (0.01 µg/L reporting limit)/ 55589-62-3/54209 Aspartame (0.002 µg/L reporting limit)/ 22839-47-0/54210 | Neotame (0.0003 µg/L reporting limit)/ 165450-17-9/54211 Saccharin (0.02 µg/L reporting limit)/ 81-07-2/54212 Sucralose (0.1 µg/L reporting limit)/ 56038-13-2/54213 |
| --- | --- |

Analysis Code:  LCHM_PG

Progestins Method

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 1 ng/L (except where noted)

OGRL Method Code: LCM96 (except where noted)

Bottle Requirements: 6-4oz (125mL) amber glass with Teflon lined caps or 1-1 Liter amber glass bottle with Teflon lined cap.

Compound Name/ CAS#: Parameter Code

| Desogestrel (10 ng/L)/ 54024-55-5: 53535, Method Code: LCM97 Drospirenone (10 ng/L)/ 67392-87-4: 53536, Method Code: LCM97 Gestodene/ 60282-87-3: 53537 Levonorgestrel/ 797-63-7: 53538 Medroxyprogesterone/ 520-85-4: 53539 | Melengestrol acetate/ 2919-66-6: 53540 Nestorone/ 7759-35-5: 53541 19-Norethindrone/ 68-22-4: 53543 Norgestimate/ 35189-28-7: 53544 Progesterone/ 57-83-0: 64523 |
| --- | --- |

Analysis Code:  LCHM2

Estrogens, Androgens, & Conjugates Method

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 1 ng/L (except where noted)

OGRL Method Code: LCM96

Bottle Requirements: 6-4oz (125mL) amber glass with Teflon lined caps or 1-1 Liter amber glass bottle with Teflon lined cap.

Compound Name/ CAS#: Parameter Code

| Estrogens Trans-diethylstilbestrol/ 56-53-1: 64516 17α-Estradiol (17αE2)/ 57-91-0: 64508 17β-Estradiol (17βE2)/ 50-28-2: 64510 Estriol (E3)/ 50-27-1: 64520 Estrone (E1)/ 53-16-7: 64521 17α-Ethynylestradiol (EE2)/ 57-63-6: 64509 Equilenin/ 517-09-9: 64518 Equilin/ 474-86-2: 64519 | Androgens Androstenedione/ 63-05-8: 64513 5α-Dihydrotestosterone/ 521-18-6: 53517 Epitestosterone/481-30-1: 64517 11-Ketotestosterone/ 564-35-2: 64507 Testosterone/ 58-22-0: 64545 Trenbolone/ 10161-33-8: 64526 Trenbolone acetate / 10161-34-9: 53518 |
| --- | --- |
| Conjugates |  |
| Androsterone glucuronide/ 1852-43-3: 53519 Trans-diethylstilbestrol glucuronide/ 2408-40-4: 53520 17β-Estradiol-glucuronide/ 1806-98-0: 53521 Estriol-3-glucuronide/ 2479-91-6: 53522 Estrone glucuronide/ 2479-90-5: 53523 Ethynylestradiol-3-glucuronide/ 60134-76-1: 53524 Testosterone glucuronide/1180-25-2: 53515 Androsterone sulfate/ 2479-86-9: 53525 Equilenin sulfate/ 16680-48-1: 53526 Equilin sulfate/27540-07-4: 53527 17β-Estradiol-3-sulfate/ 481-96-9: 53528 17β-Estradiol-17-sulfate/ 3233-69-0: 53529 Estriol-3-sulfate/ 481-95-8: 53530 Estriol-17-sulfate/ 42028-21-7: 53531 Estrone-3-sulfate/ 481-97-0: 53532 Ethynylestradiol-3-sulfate/ 24560-70-1: 53533 Testosterone sulfate/ 651-45-6: 53534 |  |

Analysis Code:  LCHM_MTox

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 1 ng/L (except where noted)

OGRL Method Code: LCM96

Bottle Requirements: 6-4oz (125mL) amber glass with Teflon lined caps or 1-1 Liter amber glass bottle with Teflon lined cap.

Compound Name/ CAS#: Parameter Code

| Beauvericin (2 ng/L)/ 26048-05-5: 53551 Deoxynivalenol (2 ng/L)/ 51481-10-8: 53552 Nivalenol (2 ng/L)/ 23282-20-4: 53553 Verrucarin A/ 3148-09-02: 53554 | α-Zearalanol/ 26538-44-3: 53555 α-Zearalenol/ 36455-72-8: 53556 β-Zearalenol/ 71030-11-0: 53557 Zearalenone/ 17924-92-4: 53558 |
| --- | --- |

Analysis Code:  LCHM_PE

Phytoestrogens Method

Sample Prep: Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Reporting Limit: 1 ng/L

OGRL Method Code: LCM96

Bottle Requirements: 6-4oz (125mL) amber glass with Teflon lined caps or 1-1 Liter amber glass bottle with Teflon lined cap.

Compound Name/ CAS#: Parameter Code

| Biochanin A/ 491-80-5: 53545 Coumestrol/ 479-13-0: 53546 Daidzein/ 486-66-8: 53547 | Equol/ 531-95-3: 53548 Formononetin/ 485-72-3: 53549 Genistein/ 446-72-0: 53550 |
| --- | --- |

EOC Custom Request Research Methods: For additional information contact Rachael Lane, rflane@usgs.gov, 785-760-4540.

Analysis Code: LCPH

Pharmaceutical Method (other compounds available by request)

Sample Prep: To be determined.

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Compound Names:

| Abacavir Acetaminophen Acyclovir Albuterol Amphetamine Atenolol Atrazine Bupropion Butalbital Caffeine Carbamazepine Carisoprodol Cefalexin Cimetidine Citalopram Clonidine Codeine Cotinine Dehydronifedipine Desloratadine Desmethyldiltiazem | Desvenlafaxine Dextromethorphan Diazepam Diclofenac Diltiazem Dimethylxanthine Diphenhydramine Erythromycin Erythromycin-H2O Famotidine Fenofibrate Fexofenadine Fluconazole Fluoxetine Fluticasone propionate Gabapentin Gemfibrozil Glyburide Guanylurea Hydrochlorothiazide | Hydrocortisone Hydroxybuproprion Lamivudine Lamotrigine Lidocaine Loratadine Meprobamate Metformin Methadone Methocarbamol Methylbenzotriazole Metoprolol Morphine Nadolol N-desmethylcitalopram Nicotine Norsertraline Nortramadol Norverapamil Oxcarbazepine Oxycodone | Penciclovir Pentoxifylline Piperonyl butoxide Propranolol Pseudoephedrine/Ephedrine Ractopamine Ranitidine Sertraline Sitagliptin Sulfamethoxazole Tamoxifen Temazepam Theophylline Thiabendazole Tiotropium Topiramate Tramadol Triamterene Trimethoprim Venlafaxine Verapamil |
| --- | --- | --- | --- |

Analysis Code:  LCTS

Solid Method

Sample Prep: Energized Dispersive Guided Extraction and Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Sediments and Soils

Reporting Limit:

OGRL Method Code: Not Assigned Yet

Compound/CAS#:

6PPD-quinone / 2754428-18-5 6PPD/ 793-24-8

Other tire-related compounds available by request

Analysis Code:  LCGS

Solid Glyphosate, AMPA, and Glufosinate Method

Sample Prep: Derivatization (FMOC)

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

Reporting Limit: 1-10 µg/kg

OGRL Method Code: LCM69

Compound Name/ CAS#, Parameter Code (Dry Weight)

| ### Glyphosate/ 1071-83-6: 52168 | *Aminomethylphosphonic Acid (AMPA)/ 1066-51-9: 52169 | Glufosinate/ 51276-47-2: 52170 |
| --- | --- | --- |

*Degradation product

Analysis Code:  LCAS

Solid Four Class Antibiotic Method

Sample Prep: Pressurized liquid extraction, Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

| Fluoroquinolines | Macrolides | Sulfonamides |
| --- | --- | --- |
| Ciprofloxacin | Azithromycin | Sulfachloropyridazine |
| Enrofloxacin | Erythromycin | Sulfadiazine |
| Lomefloxacin | *Erythromycin-H2O | Sulfadimethoxine |
| Norfloxacin | Roxithromycin | Sulfamethoxazol |
| Ofloxacin | Tylosin | Sulfamethazine |
| Sarafloxacin | Virginiamycin | Sulfathiazole |
| Tetracyclines - | Pharmaceuticals | Others |
| Chlorotetracycline *Epi-chlorotetracycline *Epi-iso-chlorotetracycline *Iso-chlorotetracycline | Carbamazepine Ibuprofen | Chloramphenicol Lincomycin Ormetoprim Trimethoprim |
| Oxytetracycline *Epi-oxytetracycline |  |  |
| Tetracycline *Epi-tetracycline |  |  |
| Doxycycline |  |  |

Analysis Code:  LCHS2

Solid Estrogens, Androgens, & Conjugates Method

Sample Prep: Pressurized liquid extraction, Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

OGRL Method Code: Not assigned yet

Compound Name/ CAS#: Parameter Codes not assigned yet

| Estrogens Trans-diethylstilbestrol/ 56-53-1 17α-Estradiol (17αE2)/ 57-91-0 17β-Estradiol (17βE2)/ 50-28-2 Estriol (E3)/ 50-27-1 Estrone (E1)/ 53-16-7 17α-Ethinylestradiol (EE2)/ 57-63-6 Equilenin/ 517-09-9 Equilin/ 474-86-2 | Androgens Androstenedione/ 63-05-8 5α-Dihydrotestosterone/ 521-18-6 Epitestosterone/ 481-30 11-Ketotestosterone/ 564-35-2 Testosterone/ 58-22-0 Trenbolone/ 10161-33-8 Trenbolone acetate/ 10161-34-9 |
| --- | --- |
| Conjugates |  |
| Androsterone glucuronide/ 1852-43-3 Trans-diethylstilbestrol glucuronide/ 2408-40-4 17β-estradiol-glucuronide/ 1806-98-0 Estriol-3-glucuronide/ 2479-91-6 Estrone glucuronide/ 2479-90-5 Ethynylestradiol-3-glucuronide/ 60134-76-1 Testosterone glucuronide/ 118-25-2 Androsterone sulfate/ 2479-86-9 Equilenin sulfate/ 16680-48-1 Equilin sulfate/ 16680-47-0 17β-estradiol-3-sulfate/ 481-96-9 17β-estradiol-17-sulfate/ 3233-69-0 Estriol-3-sulfate/ 481-95-8 Estriol-17-sulfate/ 42028-21-7 Estrone-3-sulfate/ 481-97-0 Ethynylestradiol-3-sulfate/ 24560-70-1 Testosterone sulfate/ 651-45-6 |  |

Analysis Code:  LCHS_PE

Solid Phytoestrogens Method

Sample Prep: Pressurized liquid extraction, Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

OGRL Method Code: Not Assigned Yet

Compound Name/ CAS#: Parameter Codes not assigned yet

| Biochanin A/ 491-80-5 Coumestrol/ 479-13-0 Daidzein/ 486-66-8 | Equol/ 531-95-3 Formononetin/ 485-72-3 Genistein/ 446-72-0 |
| --- | --- |

Analysis Code:  LCHS_PG

Solid Progestins Method

Sample Prep: Pressurized liquid extraction, Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

OGRL Method Code: Not Assigned Yet

Compound Name/ CAS#: Parameter Codes not assigned yet

| Desogestrel/ 54024-55-5 Drospirenone/ 67392-87-4 Gestodene/ 60282-87-3 Levonorgestrel/ 797-63-7 Medroxyprogesterone/ 520-85-4 | Melengestrol acetate/ 2919-66-6 Nestorone/ 7759-35-5 19-Norethindrone/ 62-88-4 Norgestimate/ 35189-28-7 Progesterone/ 57-83-0 |
| --- | --- |

Analysis Code:  LCHS_MTox

Solid Mycotoxin Method

Sample Prep: Pressurized liquid extraction, Solid-phase extraction

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Solids

OGRL Method Code: Not Assigned Yet

Compound Name/ CAS#: Parameter Codes not assigned yet

| Beauvericin/ 26048-05-5 Deoxynivalenol/ 51481-10-8 Nivalenol/ 23282-20-4 Verrucarin A/ 3148-09-02 | α-Zearalanol/ 26538-44-3 α-Zearalenol/ 36455-72-8 β-Zearalenol/ 71030-11-0 Zearalenone/ 17924-92-4 |
| --- | --- |

Psychoactive Compounds, Preliminary Method Development

Sample Prep: To be determined.

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Price Per Sample: To be determined.

Potential Compounds:

| Amphetamines Amphetamine Cathinone Cocaine *Benzoylecgonine *Cocaethylene *Ecgonine Methyl Ester MDA MDEA MDMA Methamphetamine Phentermine | Benzodiazepines Alprazolam Chlordiazepoxide Clonazepam Diazepam Estazolam Flunitrazepam Lorazepam Midazolam Nitrazepam Oxazepam Temazepam Zolpidem | Barbiturates Amobarbital Butalbital Pentobarbital Phenobarbital Secobarbital Hallucinogens Ketamine *Norketamine LSD *2-Oxo-3-hydroxy-LSD Methoxetamine | Opioids Buprenorphine *Norbuprenorphine Glucuronide Codeine Fentanyl Heroin Hydrocodone Hydromorphone Mephedrone Methadone *EDDP *EMDP Morphine Naloxone Oxycodone Oxymorphone Tramadol |
| --- | --- | --- | --- |

Cannabinoids, Preliminary Method Development

Research Method for Cannabis Compounds

Sample Prep: To be determined.

Instrumentation: Liquid chromatography/tandem mass spectrometry

Matrix: Water

Price Per Sample: To be determined.

Potential Compounds:

| Cannabidiol Cannabinol | Tetrahydrocannabinol (THC) 11-Hydroxy-THC | 11-Nor-9-Carboxy-THC |
| --- | --- | --- |

Algal and Environmental Toxins (AET) Unit

For additional information contact Zach Laughrey 785-832-3585, zlaughrey@usgs.gov

*All internal Quality Control data must be requested during the establishment of the sample processing agreement or additional fees may apply.

*Call to discuss analysis of Protein Phosphatase 2a Inhibition (785) 764-1408

ELISA techniques

OGRL Method Name: Description, Parameter Code, Method Code

Microcystin: CAS# 101043-37-2 IMNT2: Total Analysis, 89011, IMM26 IMNT2S: Total High Salinity, 89011, IMM28 IMND2: Dissolved Analysis, 89012, IMM27 IMND2S: Dissolved High Salinity, 89012, IMM29 Cylindrospermopsin: CAS# 143545-90-8 IMYT: Total Analysis, 89005, IMM10 IMYTS: Total High Salinity, 89005, IMM20 IMYD: Dissolved Analysis, 89006, IMM11 IMYDS: Dissolved High Salinity, 89006, IMM21 Saxitoxin/ 35523-89-8 IMXT: Total Analysis, 89003, IMM08 IMXTS: Total High Salinity, 89003, IMM22 IMXD: Dissolved Analysis, 89004, IMM09 IMXDS: Dissolved High Salinity, 89004, IMM23 Anatoxin-a/ 64285-06-9 IMAAT: Total Analysis, 53954, IMM24 IMAAD: Dissolved Analysis, 53955, IMM25

Algal Toxins by Liquid chromatography/tandem mass spectrometry

LCTXO-MT-QT (Marine Toxins only: Total Analysis)

Sample Prep: Freeze/thaw x 3 then filter

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap

Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| 13-Desmethyl spirolide C (0.08 µg/L)/ 334974-07-1: 53973 Azaspiracid-1/ 214899-21-5: 53969 Dinophysistoxin-1 (0.30 µg/L)/ 81720-10-7: 53970 Dinophysistoxin-2/ N/A: 53974 Domoic Acid (0.08 µg/L)/ 14277-97-5: 52687 | Gymnodimine/ 173792-58-0: 53971 Nodularin R (NDLR)/ 118399-22-7: 52696 Okadaic Acid/ 78111-17-8: 52697 Pectenotoxin-2/ 97564-91-5: 53972 |
| --- | --- |

LCTXO-MD-QT (Marine Toxins only: Dissolved Analysis)

Sample Prep: Filtered

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| 13-Desmethyl spirolide C (0.08 µg/L)/ 334974-07-1: 53979 Azaspiracid-1/ 214899-21-5: 53975 Dinophysistoxin-1 (0.30 µg/L)/ 81720-10-7: 53976 Dinophysistoxin-2/ N/A: 53980 Domoic Acid (0.08 µg/L)/ 14277-97-5: 65193 | Gymnodimine 173792-58-0: 53977 Nodularin R (NDLR)/ 118399-22-7: 56189 Okadaic Acid/ 78111-17-8: 52164 Pectenotoxin-2/ 97564-91-5: 53978 |
| --- | --- |

LCTXO-CT-QT (Freshwater Toxins only: Total Analysis)

Sample Prep: Freeze/thaw x 3 then filter

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap

Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| ### Anatoxin-a (ANTA) (0.08 µg/L)/ 64285-06-9: 68287 Cylindrospermopsin (CYLS)/ 143545-90-8: 52686 Microcystin HtYR (MCHtYR)/ N/A: 52690 Microcystin HiLR (MCHiLR)/ N/A: 52836 Microcystin LA (MCLA)/ 96180-79-9: 52688 Microcystin LF (MCLF)/ 154037-70-4: 52694 Microcystin LR (MCLR)/ 101043-37-2: 63686 | Microcystin LW (MCLW)/ 111755-37-4: 52685 Microcystin LY (MCLY)/ 123304-10-9: 52689 Microcystin RR (MCRR) (0.08 µg/L)/ 111755-37-4: 52695 Microcystin YR (MCYR)/ 101043-37-2: 52693 Nodularin R (NDLR)/ 118399-22-7: 52696 |
| --- | --- |

LCTXO-CD-QT (Freshwater Toxins only: Dissolved Analysis)

Sample Prep: Filtered

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap

Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| ### Anatoxin-a (ANTA) (0.08 µg/L)/ 64285-06-9: 65191 Cylindrospermopsin (CYLS)/ 143545-90-8: 65190 Microcystin HtYR (MCHtYR)/ N/A: 52161 Microcystin HiLR (MCHiLR)/ N/A: 52165 Microcystin LA (MCLA)/ 96180-79-9: 65188 Microcystin LF (MCLF)/ 154037-70-4: 65186 Microcystin LR (MCLR)/ 101043-37-2: 63685 | Microcystin LW (MCLW)/ 111755-37-4: 65185 Microcystin LY (MCLY)/ 123304-10-9: 52163 Microcystin RR (MCRR) (0.08 µg/L)/ 111755-37-4: 64048 Microcystin YR (MCYR)/ 101043-37-2: 65187 Nodularin R (NDLR)/ 118399-22-7: 65189 |
| --- | --- |

LCTXO-AT-QT (Freshwater and Marine Toxins: Total Analysis)

Sample Prep: Freeze/thaw x 3 then filter

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap

Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| 13-Desmethyl spirolide C/ 334974-07-1: 53973 ### Anatoxin-a (ANTA) (0.08 µg/L)/ 64285-06-9: 68287 Azaspiracid-1/ 214899-21-5: 53969 Cylindrospermopsin (CYLS)/ 143545-90-8: 52686 Dinophysistoxin-1/ 81720-10-7: 53970 Dinophysistoxin-2/ N/A: 53974 Domoic Acid/ 14277-97-5: 52687 Gymnodimine/ 173792-58-0: 53971 Microcystin HtYR (MCHtYR)/ N/A: 52690 Microcystin HiLR (MCHiLR)/ N/A: 52836 Microcystin LA (MCLA)/ 96180-79-9: 52688 Microcystin LF (MCLF)/ 154037-70-4: 52694 | Microcystin LR (MCLR)/ 101043-37-2: 63686 Microcystin LW (MCLW)/ 111755-37-4: 52685 Microcystin LY (MCLY)/ 123304-10-9: 52689 Microcystin RR (MCRR) (0.08 µg/L)/ 111755-37-4: 52695 Microcystin YR (MCYR)/ 101043-37-2: 52693 Nodularin R (NDLR)/ 118399-22-7: 52696 Okadaic Acid/ 78111-17-8: 52697 Pectenotoxin-2/ 97564-91-5: 53972 |
| --- | --- |

LCTXO-AD-QT (Freshwater and Marine Toxins: Dissolved Analysis)

Sample Prep: Filtered

Instrumentation: Liquid chromatography/High Resolution Mass Spectrometry via Orbitrap

Matrix: Water

Reporting Limit: 0.10µg/L (except where noted)

OGRL Method Code: LCM87

Compound Name/ CAS#: Parameter Code

| 13-Desmethyl spirolide C/ 334974-07-1: 53979 ### Anatoxin-a (ANTA) (0.08 µg/L)/ 64285-06-9: 65191 Azaspiracid-1/ 214899-21-5: 53975 Cylindrospermopsin (CYLS)/ 143545-90-8: 65190 Dinophysistoxin-1/ 81720-10-7: 53976 Dinophysistoxin-2/ N/A: 53980 Domoic Acid/ 14277-97-5: 65193 Gymnodimine/ 173792-58-0: 53977 Microcystin HtYR (MCHtYR)/ N/A: 52161 Microcystin HiLR (MCHiLR)/ N/A: 52165 Microcystin LA (MCLA)/ 96180-79-9: 65188 Microcystin LF (MCLF)/ 154037-70-4: 65186 | Microcystin LR (MCLR)/ 101043-37-2: 63685 Microcystin LW (MCLW)/ 111755-37-4: 65185 Microcystin LY (MCLY)/ 123304-10-9: 52163 Microcystin RR (MCRR) (0.08 µg/L)/ 111755-37-4: 64048 Microcystin YR (MCYR)/ 101043-37-2: 65187 Nodularin R (NDLR)/ 118399-22-7: 65189 Okadaic Acid/ 78111-17-8: 52164 Pectenotoxin-2/ 97564-91-5: 53978 |
| --- | --- |